## Acceptable Fluid and Material
Material
Fluid | 316L S/S | Hastelloy C276 | Alloy 20 | Titanium Gr2 | uPVC | CPVC | EPDM | FKM | Notes
Sodium Hypochlorite | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | FALSE | TRUE | Example
Potable Water | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | Example
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
On this page, list the fluids involved in your project from the P&Id legend sheet under the fluid column. Then for each of the materials listed, indicate if the material is considered acceptable for the fluid in your project. Tick all acceptable materials.
Note that we cannot simply use chemical compatibility sheets because generally the fluid description does not include concentration, and the apetite for risk of corrosion varies from project to project.
We have provided an examples. Overwrite when you fill in your requirements. Add more rows as needed.
Then go the "Schedule" tab and fill that in.

## Schedule
Tag Number | P&Id | Can main be shut down and depressurised easily? | Main Fluid | Main Size (DN) | Main Pressure (kPa) | Chemical | Chemical Max Flow (inc carrier water) - L/H | Chemical line size DN | Special Requirements | Model Required H2O Rx Recommendation | Notes
IQ-001 | P1234 | FALSE | Potable Water | 600 | 1200 | Sodium Hypochlorite | 3600 | 32 | A riser of 800mm is required for access due to the main being buried. |  | Example
On this page, list each injection quill - one per line. "Main Fluid" and "Chemical" can only be selected from the list of fluids on the first page, so do that first!
The question "Can main be shut down and depressurised easily?" is a judgement call. Consider any valving, either side of the injeciton point, bypasses, and if the line is critical for continuous operation. Tick if it CAN be shut down easily.
Leave the columns "Model Required H2O Rx Recommendation" and "Notes" for H2O Rx to complete.
We have provided an example row. Overwrite when you fill in your requirements. Add rows as needed.